## Connection Costs
Common Connection Costs for Small DERs:
No. | Cost Item | Average ($) of the Nameplate Capacity* |  |  |  | Note on Potentially High Variability Factors Affecting the Cost Item
|  | DER Group #1 | DER Group #2 | DER Group #3 | DER Group #4
|  | All micro-embedded generation facility connection cost(s) - ≤12kW | Single-phase DER: > 12 kW and ≤ 30 kW | Three-phase DER: > 12 kW and ≤ 100 kW | Other common connection costs for small DERs with nameplate capacity of 250kW or less: >100 kW and ≤250 kW
1 | Metering | 263 | 553 | 3193 | 2389 | For DER Group#4, sample costs are from 2021.
2 | SCADA | 0 | 516.07 | 516.07 | 516.07 | Current estimated cost.
3 | CIA Fees | 0 | 0 | 2200 | 5000 | CIA Fees are fixed charges from a third party. ENWIN passes these fees through to customers with no markup.
| Total connection cost | 263 | 1069.07 | 5909.07 | 7905.07 | These values represent averages and are provided for general informational purposes only. Actual costs may vary.
* Project cost information is based on the average of projects connected over the previous two years unless otherwise specified.
This guidance is intended to provide customers a preliminary understanding of the potential financial implications of proposed projects, helping to make an informed decision about whether to proceed with the connection process. This guidance is updated on an annual basis. Actual costs experienced may vary significantly. Estimated costs for a customer's project may only be established upon completion of a Connection Impact Assessment Study and provided to the customer at the time ENWIN issues an Offer to Connect.
Published May 2026

## Cost Variance
Cost Variance for Small DERs:
DER Group/kW Size Range | Example Project No.* | Project type (exporting/non- exporting) | Connection Cost Estimate ($) | Actual Connection Cost ($) | Variance [Actual - Estimate] ($) | Variance % | Expansion required (Y/N) | Transfer trip required (Y/N) | Build & Energization duration (Months) | General Notes
Group 1 - All micro-embedded generation facility connection cost(s) - ≤12kW | 1 | Exporting | 281 | 293.19 | 12.19 | 4.338% | N | N | 8 | Actual meter cost at time of installation is variable.
| 2 | Exporting | 281 | 233 | -48 | -17.08% | N | N | 5 | Actual meter cost at time of installation is variable.
Group 2 - Single-phase DER: > 12 kW and ≤ 30 kW | 1 | Exporting | 780 | 1073 | 293 | 37.56% | N | N | 18 | Material and Labour cost increases over multiple calendar years.
Group 3 - Three-phase DER: > 12 kW and ≤ 100 kW | 1 | Exporting | 2212 | 2968 | 756 | 34.18% | N | N | 24 | Material and Labour cost increases over multiple calendar years.
| 2 | Exporting | 4672 | 4454 | -218 | -4.666% | N | N | 14
Group 4 - Other common connection costs for small DERs with nameplate capacity of 250kW or less: >100 kW and ≤ 250 kW | 1 | Exporting | 1030 | 2389 | 1359 | 131.9% | N | N | 24 | Sample costs are from 2021. Material and Labour cost increases over multiple calendar years.
* Example projects have been connected over the previous two years unless otherwise specified.
This guidance is intended to provide customers a preliminary understanding of the potential financial implications of proposed projects, helping to make an informed decision about whether to proceed with the connection process. This guidance is updated on an annual basis. Actual costs experienced may vary significantly. Estimated costs for a customer's project may only be established upon completion of a Connection Impact Assessment Study and provided to the customer at the time ENWIN issues an Offer to Connect.
Published May 2026